University of Bejaia                                                                       Module: English

Department of technology

Electrical Hazards

The two main hazards of electricity are electric shock and fire. Both hazards can be avoided if electrical equipment and installations are properly used.

How does electric shock occur?

Electricity escapes from a circuit by travelling to earth. If it travels to earth through a human body, it causes an electric shock. The shock may be small, or it may be fatal. This depends upon the voltage of the electricity and the resistance of the body and ground. An electric shock is more dangerous when resistance is low. For example, wet ground has lower resistance than dry ground. A man on wet ground may be killed by an electric shock. Similarly, most metals have a law resistance.

Fires in electrical equipment are caused by overheating or sparking. They can also be caused by damaged insulation. The main danger of most small fires is that they can quickly spread.

Electricians and other workers doing electrical repairs should take special precautions: before starting work, they must switch off the electric current at the mains and wear thick rubber shoes- rubber has a high resistance to electric current.

Adapted from Industrial safety C.J. Moore and R.V. Allot

Exercise1: what do or not do in case of:

*Electric shock

* Electric fire

- Switch off the electric current immediately.

- Immediately sound the fire alarm.

- If you cannot find the switch, free the casually from electrical contact with a dry wooden stick or hold his clothes to pull him.

- Shut the doors and windows to cut oxygen supply.

- Never touch someone who has received an electric shock.

- Remove any material, object or equipment which can burn.

- If not, he must be given artificial respiration.

- Do not let the cause walk and let him warm.

respiration.

Correction:

* Electric shock

A /    C/     E/   H

* Electric fire

B/ D/ F/ G